## Prelimanery
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US Dollar currency, i.e. US Dollars and Cents.
INDEX
| SECTION NO. 1 |  |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  |  | MAIN BUILING
| SECTION NO.3 |  |  | BOUNDARY WALL
| SECTION NO.3 |  |  | SECURITY ROOM
| SECTION NO.5 |  |  | PRAYER ROOM AND STORE
| SECTION NO.6 |  |  | GUARD TOWERS
| SECTION NO.7 |  |  | SEPTIC TANK
| SECTION NO.8 |  |  | WAITING SHADE
| SECTION NO.9 |  |  | SOLAR
| SECTION NO.10 |  |  | PC SUM
GRAND SUMMARY
ITEM | [8 empty] | AMOUNT (US$)
SECTION NO. 1
`
| PRELIMINARIES AND GENERAL DESCRIPTIONS |  |  |  |  | `
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be
responsibilities of the Architect.
B | SITE
The site is located in KISMAYO DISTRICT, JUBALAND STATE - SOMALIA
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position,
nature of the ground, sub- strata and other local conditions, position of power and water
the supplies, access roads or any other limitations, and no claims for extras will be
considered on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the
area necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use
of any materials found on the Site. Any such material utilized in the execution of the
Contract shall be measured and value assessed by the Quantity Surveyor and the
amount credited to the Employer.
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and
prices stated in the priced Bills of Quantities, which rates and prices shall cover all their
obligations under the Contract and all matters and things necessary for the proper
completion and maintenance of the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection
with the Surety Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant
in the contract.
| "BS" |  | Shall mean the current British Standard Specification published
by the British Standards Institution, 2 Park Street,
London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw
up a Time and Progress Schedule setting out the order in which the Works are to be
carried out with the appropriate dates thereof. This Time and Progress Schedule
is to be agreed with the Architect and no deviation from the order set out in this Schedule
will be permitted without the written consent of the Architect. The Main Contractor
will be responsible for arranging the above programme with all Sub-Contractors
including the Nominated Sub-Contractors and Nominated Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
[6 empty] | Carried To Collection |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
alkaline substance in solution or suspension.
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
shall pay all fees and obtain all permits in connection therewith.
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
dangerous rubbish.
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$
ITEM | [8 empty] | AMOUNT (US$)
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
that all safety and protective gear are worn by all staff on site at all times
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
minimum standard for the work to which they apply.
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
Successful tests only (Provisional)
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
Architect and local authorities.
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
remain on site until completion of the works.
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
same completion.
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$
ITEM | [8 empty] | AMOUNT (US$)
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
exceeding 3.0meters and 6No barbed wire strands at equal spacing
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
safeguard the Works, plant and materials against damage and theft.
C | SIGNBOARD
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
permission from the Architect.
[5 empty] | Carried To Collection |  |  | US$
ITEM | [8 empty] | AMOUNT (US$)
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
all charges in connection therewith.
[5 empty] | Carried To Collection |  |  | US$
Collection
|  | Brought forward from Page |  |  |  | 1/4 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/5 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/6 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/7 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/8 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/9 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/10 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/11 |  |  | 0
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$ |  | 0

## Main Building
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 1: | NEW OFFICE BUILDING (BUILDING 'A')
A | SUBSTRUCTURES
1) | Excavation and Earthwork
a) | Clear the site of all bushes shrubs small trees and burn the arising spoil | 932 | m2 |  | 0
c) | Excavate for strip foundation trenches 500mm wide commencing at oversite level and not exceeding 1200mm and carting away to spoil as directed by the site supervisor | 97 | m3 |  | 0
d) | Ditto but for column bases | 108 | m3 |  | 0
2) | Planking and strutting
a) | Allow for maintaining and supporting sides of excavations and for keeping the same free from fallen materials | 1 | Item |  | 0
3) | Backfilling
a | Return, fill in and ram selected excavated material around foundations | 60 | m3 |  | 0
4) | Selected filling
a) | Hardcore filling compacted in layers not exceeding 150mm deep and well watered | 32 | m3 |  | 0
b) | 50mm Thick murram blinding to surfaces of hardcore (Measured Seperately) | 16 | m3 |  | 0
5) | Anti-termite treatment
a) | Chemical anti-termite treatment as "Premise 200 SC" or other equal and approved executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore and under trench surfaces. | 227.2 | m2 |  | 0
6) | Damp proof membrane
a) | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | 227.2 | m2 |  | 0
7) | Concrete work
Plain concrete class 15 (mix 1:3:6)
a) | 50mm Thick surface blinding under column bases | 2.5 | m3 |  | 0
Insitu concrete class 25, vibrated and reinforced as described, in:-
b) | Strip foundation | 7.9 | m3 |  | 0
c) | Column bases | 18.4 | m3 |  | 0
d) | Columns starters | 4.6 | m3 |  | 0
f) | Ground beam | 7.9 | m3 |  | 0
g) | 100mm thick ground floor slab | 22.72 | m3 |  | 0
h) | Ramps | 6 | m3 |  | 0
i) | Steps | 0.8 | m3 |  | 0
8) | Reinforcement
| Mild steel bars to B.S. 4449 including cutting, bending and all necessary spacer blocks |  |  |  | 0
a) | 6mm diameter bars | 20 | kg |  | 0
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Strip foundation
b) | 12mm | 462.8 | kg |  | 0
c) | 8mm | 267 | kg |  | 0
Column bases
d) | 12mm | 384.84 | kg |  | 0
Colum starters
e) | 12mm | 248 | kg |  | 0
d) | 8mm | 53.2 | kg |  | 0
Ground beam
e) | 12mm | 694.2 | kg |  | 0
d) | 8mm | 267 | kg |  | 0
Mesh reinforcement ; B.S. 4483 weighing 2.22 kgs per square meter including bends, tying wire and spacing blocks
e) | Fabric mesh reinforcement to ground floor slab | 227.2 | m2 |  | 0
9) | Formork
Formwork in sawn finish at any level to:-
a) | Vertical sides of columns starters | 30 | m2 |  | 0
b) | Vertical sides of column bases | 57 | m2 |  | 0
c) | Ditto sides of ground beam | 39 | m2 |  | 0
10) | Rumble Foundation walling
Selected stones bedded and jointed in cement and sand (1:3) mortar
a) | 400mm thick walls | 72.8 | m3 |  | 0
11) | Plinths
a) | 12 mm thick cement : sand (1:3) plaster to plinth | 58.5 | m2 |  | 0
b) | Three coats of bituminuos paint to plinth surfaces. | 58.5 | m2 |  | 0
| TOTAL FOR SUBSTRUCTURES AND SITE PREPARATIONS CARRIED TO SUMMARY |  |  |  | 0
B | STRUCTURAL FRAME
1) | Reinforced Concrete
Insitu concrete class 25/20 , vibrated and reinforced as described, in:-
a) | Beams | 16 | m3 |  | 0
b) | Columns | 15.6 | m3 |  | 0
b) | Concrete walling | 9 | m3 |  | 0
d) | Suspended roof Slab | 54.48 | m3 |  | 0
e) | Sun shades | 2 | m3 |  | 0
f) | Lintels | 2 | m3 |  | 0
g) | Staircase | 2 | m3 |  | 0
h) | Staircase landing | 1.4 | m3 |  | 0
2 | Reinforcement
| Mild steel bars to B.S. 4449 including cutting, bending and all necessary spacer blocks |  |  |  | 0
a) | 6mm diameter bars | 12 | kg |  | 0
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Beams
b) | 14mm Ditto | 1887 | kg |  | 0
c) | 8mm Ditto | 575 | kg |  | 0
Columns
d) | 16mm Ditto | 1394.5 | kg |  | 0
e) | 8mm Ditto | 318 | kg |  | 0
Suspended roof Slab
f) | 10mm Ditto | 2310 | kg |  | 0
Stairs
g) | 12mm Ditto | 260 | kg |  | 0
h) | 8mm Ditto | 190 | kg |  | 0
3) | Formwork
Formwork in sawn finish at any level to:-
a) | Sides and soffits of beams | 80 | m2 |  | 0
b) | Vertical sides of columns | 36 | m2 |  | 0
d) | Soffits of suspended roof slab | 460 | m2 |  | 0
j) | Soffits of staircase | 10 | m2 |  | 0
k) | Sides including raking edges of staircase | 2 | m2 |  | 0
l) | Soffits of landing | 3 | m2 |  | 0
m) | Verticals sides of concrete walling | 85 | m2 |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO SUMMARY |  |  |  | 0
C | WALLING
| Three- ply bituminous felt damp proof course bedded in cement and sand (1:3) mortar (measured nett allow for 300mm laps):- |  |  |  | 0
a) | 200mm wide | 130 | m |  | 0
1) | Walling
Solid concrete block walls bedded and jointed in cement and sand (1:3) mortar
a) | 200mm thick walls reinforced with two lines of hoop iron after every three courses | 685 | m2 |  | 0
b) | Ditto: Extra walls | 65 | m2 |  | 0
c) | Ditto: Parapet wall | 60 | m2 |  | 0
d) | Ditto: veranda | 11 | m2 |  | 0
| Coping |  |  |  | 0
e) | 300x50mm thick precast concrete coping bedded on top of walling in cement and sand (1:3) mortar | 60 | m |  | 0
| TOTAL FOR WALLING CARRIED TO SUMMARY |  |  |  | 0
D | DOORS
Note: All doors to be supplied and fixed s per the details and schedule provided. All iron Mongery that has not been measured separately shall be priced together with the corresponding door.
i) | Supply 1500X2100mm high double leafed, pre- factory made, steel door in steel framing. Rate to include fixing, heavy gauge hinges and 3 lever mortise lock/ barrel bolts. | 1 | No |  | 0
ii) | Supply 900X2100mm high hardwood framed door with 600mm high funlight with glazing, 1 1/4" thick flush paneled door sashes with a 150x75mm softwood timber frame, 3 pairs of heavy quality brass oxidized hinges and 3lever mortice lock. The door to be painted in 3coats of clear furnish | 8 | m |  | 0
iii) | Supply 800X2100mm high hardwood framed door, 1 1/4" thick flush paneled door sashes with a 150x75mm softwood timber frame, 3 pairs of heavy quality brass oxidized hinges, two number 300mm and 150mm barrel bolts and 3lever mortice lock. The door to be painted in 3coats of clear furnish | 3 | m |  | 0
iv) | Supply 900X2100mm high double leafed, pre- factory made, steel door in steel framing. Rate to include fixing, heavy gauge hinges and 3 lever mortise lock/ barrel bolts. | 1 | m |  | 0
| TOTAL FOR DOORS CARRIED TO SUMMARY |  |  |  | 0
E | WINDOWS
2) | Aluminium Windows
Door shutter made out of white (RAL 9010)powder coated aluminium profiles, lamellas, etc; 6mm thick laminated obscured glass; fixed as per the details: All iron mongery all fixed to manufacturer's specifications (See details provided)
a) | Window size 1500 x 1200mm (AW01) | 18 | Nr |  | 0
b) | Window size 600x60000mm (AW02) | 4 | Nr |  | 0
C | Provision of intalling 3m lon and 1.4m wide alluminum receiption pooth as directed by the engineer | 1 | work |  | 0
| TOTAL FOR WINDOWS CARRIED TO SUMMARY |  |  |  | 0
F | FINISHES
1) | Ceiling Finishes
13mm thick cement and sand (1:3) plaster, with steel trowelled finish to:-
a) | Soffits of suspended slabs | 227.2 | m2 |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
b) | Plastered ceiling surfaces | 227.2 | m2 |  | 0
2) | Wall Finishes
Internal Walls: 13mm thick cement sand (1:3) plaster, with steel trowelled finish to:-
a) | Internal Sides of block wall and concrete surfaces | 1080 | m2 |  | 0
b) | Ditto: to reveals of openings | 67 | m2 |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
d) | Plastered wall surfaces | 1080 | m2 |  | 0
e) | Reveals of openings | 67 | m2 |  | 0
External Walls: 15mm Cement and sand (1:3) render on block wall or concrete work to:-
g) | Concrete or block wall surfaces externally | 500 | m2 |  | 0
External Walls: Fill uneven surfaces with stucco filler to approval including sanding of all uneven surfaces; apply two coats of white wash and two finishing coats of resin based permaplast weather proof paint which is offering protection against severe tropical weather as:
h) | Pure white RAL code 9010 to wall surfaces | 500 | m2 |  | 0
3) | Floor finishes
Insitu cement and sand (1:3) screeded beds, with steel trowelled finish , on concrete
a) | 40mm thick screed smooth finished | 460 | m2 |  | 0
Supply and fix 300x300mm clay floor tiles approved from samples provided; on backing screed (measured seperately) to:-
j) | Floors | 460 | m2 |  | 0
External Paved Areas
k) | 600x600x50mm thick precast concrete paving slabs (standard) jointed in cement and sand mortar and laid on 50mm thick sand bed (Sample of paving slab to be provided by the Contractor for approval by the site Engineer). | 103 | m2 |  | 0
| TOTAL FOR FINISHES CARRIED TO SUMMARY |  |  |  | 0
H | BALUSTRADING AND STAIRCASE/RAMPS RAILING
The following in staircase
a) | 50mm diameter aluminium hand rail welded to 20mm diameter solid stainless steel grounted (fish tailed) into parapet wall as per detail. | 14 | m |  | 0
The following in balustrading to ramp
b) | 900mm high, 48mm diameter aluminium baluster fixed to concrete slab to the Site Engineer's approval | 2 | Nr |  | 0
c) | 50mm diameter aluminium hand rail welded to 20mm diameter solid stainless steel grounted (fish tailed) into parapet wall as per detail. | 42 | m |  | 0
d) | Prepare and apply pure white RAL code 9010 to plastered surfaces as before described | 5 | m2 |  | 0
| TOTAL FOR BALUSTRADING CARRIED TO SUMMARY |  |  |  | 0
I | ROOF
ROOF STRUCTURE (CONCRETE FLAT ROOF AREA)
Prepare and apply APP high performance waterproofing membrane obtained from an approved manufacturer and applied according to the manufacturer's instructions
a) | 4mm APP membrane applied to roof slabs | 227.2 | m2 |  | 0
c) | Dress membrane round 100mm rainwater outlet (provisional) | 227.2 | m2 |  | 0
2) | Rain Water Disposal
Supply and fix uPVC rain water system with solvent welded, seal ring or dry joints to manufacturer's instructions.
a) | 100 mm Diameter grey rainwater down pipe | 6 | m |  | 0
b) | 100 mm Diameter galvanized mild steel fulbora rainwater outlet complete with dome type grating, flange, raising ring, PVC adaptor and other accessories including connecting to downpipe. | 3 | Nr |  | 0
c) | 100mm Shoe | 7 | Nr |  | 0
| Allow for GI stair fixed to wall to access roof | 1 | Nr |  | 0
| TOTAL FOR ROOF FINISHES AND RAIN WATER DISPOSAL CARRIED TO SUMMARY |  |  |  | 0
J | MECHANICAL INSTALLATIONS
PIPING
Supply, deliver and install pipes, tubing and fittings as described and shown on the drawings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors whereunions, sockets, sliding and fixed joints, support raceways, isolating required, valves, sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
A | Supply and install heavy duty PPR pipes including all connections | 1 | Nr |  | 0
SANITARY INSTALLATIONS
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
B | Water closet (W.C.) suite in white vitreous china comprising: Glazed W.C. pan with heavy duty unbreakable plastic seat and cover, close couple cistern and fittings, 6.0 litres, including chrome lever and cover clip and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Twyford classic' or equal and approved | 6 | No |  | 0
C | Recessed toilet roll holder in white vitreous china size 150x150 mm. To be as 'Twyford' or equal and approved | 6 | No |  | 0
D | Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved | 6 | No |  | 0
E | Wall-mounted push-button soap dispenser complete with initial charge and mounting brackets. Soap dispenser to be as 'Star mix' or equal and approved | 6 | No |  | 0
F | 6 mm thick polished beveled plate glass mirror size 610x610 mm on foam and 6 mm plywood timber backing in hard wood timber framing fixed on wall with dome headed brass screws | 6 | No |  | 0
G | Supply and fix TWO 5000 ltr heavy duty PVC water tank inluding All necessary plumbing as PPR pipes and connectors | 2 | No |  | 0
a) | Allow for all all connections, pressure testing at 4 bars for 24hours and commissioning of the sanitary fittings and accessories to the entire satisfaction of the Engineer. | 1 | LS |  | 0
| TOTAL FOR MECHANICAL INSTALLATIONS CARRIED TO SUMMARY |  |  |  | 0
ELECTRICAL INSTALLATION
supply and fix steel sheet plates for wire and cables transmition inside the floors of building and fix their supports to the slab ceiling max. 300mm
| Provision of power supply from nearby power source. Supply and instalation of PVC/SWA/PVC Copper cables per meter (a) 25mm sq. 4 core (b ) 95mm sq. 4 core LIGHTING POINTS AND SWITCHES Lighting points wired in 3x1.5 mm2 PVC/SC cables drawn in 20 mm Ǿ concealed HG PVC conduits complete with all necessary accessories but excluding switches for:(a)One way switching (b) Two Way with Intermediate Switching 10A moulded ivory type switch plates as MK range or approved equivalent of One gang one way Supply and instalation of Single Light Bulb Lighting fittings, Socket outlet power points comprising wiring in 3 x2.5mm2 PVC/SC copper cables drawn in 25mm Ø CONCEALED HG PVC conduits including all conduit accessories but excluding plates, Supply and instalation of 13A moulded socket outlet plates as crabtree or approved equivalent of Twin switched. Supply and instalation of 15A Single switched socket outlet plates as crabtree or approved equivalent, 50mmØ PVC HG conduits. Supply and instalation of METER BOARD 100 Amps TPN MCCB as MEM or appoved Equivalent Supply and instalation of Earthing of the meterboard and the installation comprising of the following 15mm x 1800mm earth rod as FURSE cat. No. RB 105. Supply, installing, testing and commissioning of metallic double door type distribution board with all necessary connection complete to be installed concealed in wall /surface mount complete to the satisfaction of the Engineer in charge. The DB should be of same make as MCB make. All MCBs & ELCBs must be 10KA Short Circuit Current Rated. All DBs Must be Legrand Model EKINIOX3 or Hager Model NOVELLO | 1 | NO |  | 0
A
AC'S
| AIRCONDITIONING: Supply and install split type air condiotioners out door unit and indoor wall mounted type unit with remote a/c controler with wall bracket, AVS with adjustable delay on energisationat at the correct mounting height with correct size of tapping screws and testing for gass leakage and waste water drainage | 10 | NO |  | 0
| TOTAL FOR ELECTRICAL INSTALLATION CARRIED TO SUMMARY |  |  |  | 0
| DESCRIPTION |  |  |  | AMOUNT (USD)
BILL SUMMARY
A | SUBSTRUCTURES AND SITE PREPARATIONS |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
D | DOORS |  |  |  | 0
E | WINDOWS |  |  |  | 0
F | FINISHES |  |  |  | 0
I | ROOF AND RAIN WATER DISPOSAL |  |  |  | 0
J | MECHANICAL INSTALLATION |  |  |  | 0
K | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL FOR NEW OFFICE BUILDING (BUILDING 'A') |  |  |  | 0

## Boundary wall
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 2: | BOUNDARY WALL
A | SUBSTRUCTURES
1) | Excavation and Earthwork
a) | Clear the site of all bushes shrubs small trees and burn the arising spoil | 90 | m2 |  | 0
c) | Excavate in soft material for foundation trenches not exceeding 1.2m deep starting from stripped leveln including column bases | 18 | m3 |  | 0
d) | Ditto but for column bases | 108 | m3 |  | 0
2) | Planking and strutting
a) | Allow for maintaining and supporting sides of excavations and for keeping the same free from fallen materials | 1 | Item |  | 0
3) | Disposal of Surplus spoils
a | Load and cart away surplus material from site to an approved dumping site | 18 | m3 |  | 0
5) | Anti-termite treatment
a) | Chemical anti-termite treatment as "Premise 200 SC" or other equal and approved executed complete by an approved specialist under a ten (10) year guarantee to under trench surfaces.. | 22.5 | m2 |  | 0
6 | Concrete work
Plain concrete class 15 (mix 1:3:6)
a) | 100mm Thick strip foundation | 1.8 | m3 |  | 0
Insitu concrete class 25, vibrated and reinforced as described, in:-
b) | Column bases | 0.3 | m3 |  | 0
c) | Column staters | 0.5 | m3 |  | 0
d) | 150mm thick ground beam | 2.7 | m3 |  | 0
10) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Column bases
a) | 12mm bars | 38 | KG |  | 0
Column Starters
b) | 12mm bars | 46 | KG |  | 0
c) | 8mm bars | 19 | KG |  | 0
Ground beam
d) | 12mm bars | 160 | KG |  | 0
0
e) | 8mm bars | 93 | KG |  | 0
11) | Formork
Formwork in sawn finish at any level to:-
a) | Vertical sides of columns starters | 10 | m2 |  | 0
0
b) | Sides of ground beam | 18 | m2 |  | 0
| TOTAL FOR SUBSTRUCTURES CARRIED TO SUMMARY |  |  |  | 0
B | STRUCTURAL FRAME
1) | Concreting
Insitu concrete class 25/20 , vibrated and reinforced as described, in:-
0
a) | Columns | 1 | m3 |  | 0
0
2) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
0
| Columns |  |  |  | 0
a) | 12mm bars | 80 | KG |  | 0
b) | 8mm bars | 30 | KG |  | 0
| copping |  |  |  | 0
c) | R6 | 40 | KG |  | 0
0
3) | Formwork |  |  |  | 0
| Formwork in sawn finish at any level to:- |  |  |  | 0
b) | Vertical sides of columns | 1 | m2 |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO SUMMARY |  |  |  | 0
C | WALLING
Rubble stone foundation wall
1) | 400mm thick natural rubble stone foundation bedded and joined in cement and sand (1:4) morter | 25.2 | m3 |  | 0
2) | Three- ply bituminous felt damp proof course bedded in cement and sand (1:3) mortar (measured nett allow for 300mm laps):- |  |  |  | 0
a) | 200mm wide | 18 | m2 |  | 0
3) | Super structure walling |  |  |  | 0
| Solid concrete block walls bedded and jointed in cement and sand (1:3) mortar |  |  |  | 0
a) | 200mm thick walls reinforced with two lines of hoop iron after every three courses | 110 | m2 |  | 0
| Coping |  |  |  | 0
c) | 200x100mm thick precast concrete coping bedded on top of walling in cement and sand (1:3) mortar | 0.9 | m3 |  | 0
| TOTAL FOR WALLING CARRIED TO SUMMARY |  |  |  | 0
E | FINISHING
| 15 mm cement and sand (1:3) render, finished with woodfloat to:- |  |  |  | 0
1 | Concrete or masonry surfaces externally | 135 | m2 |  | 0
| 12mm (minimum) two coat lime plaster as described to |  |  |  | 0
2 | Concrete and masonry surfaces internally | 135 | m2 |  | 0
4 | Painting and decorating |  |  |  | 0
Prepare and apply one under coat and three coats first quality emulsion paint on:-
a | Plastered walls externally | 135 | m2 |  | 0
b) | Plastered surfaces internally | 135 | m2 |  | 0
E | Rehabilitation of existing walls
| Carefully hackoff and remove existing plaster on both external and internal walls off the boundary as directed by the Engineer | 250 | m2 |  | 0
| 15 mm cement and sand (1:3) render, finished with woodfloat to:- |  |  |  | 0
1 | Concrete or masonry surfaces externally | 270 | m2 |  | 0
| 12mm (minimum) two coat lime plaster as described to |  |  |  | 0
2 | Concrete and masonry surfaces internally | 270 | m2 |  | 0
4 | Painting and decorating
Prepare and apply one under coat and three coats first quality emulsion paint on:-
a | Plastered walls externally | 270 | m2 |  | 0
b) | Plastered surfaces internally | 270 | m2 |  | 0
| TOTAL FOR FINISHING CARRIED TO SUMMARY |  |  |  | 0
E | Gates
| Supply and fix double leaf steel roller gate size 4000x 2100mm high with small pedestrian door made from 3mm thick steel plate welded on both sides of the frame. Frame as follows: 75x50x3mm thick RHS external members and 25mm SHS 3mm thick secondary members, fixed onto the concrete columns using heavy duty steel pin hinges; with all fastening accessories including all cutting welding, grinding and priming with one coat of grey oxide before fixing. The gate should also have peep holes of not more that 25mm dia with a slilding door. It should also have 2 locking mechanisms, top and bottom. | 1 | No |  | 0
| Emergency Exit door 1200x2100mm heigh | 1 | 1 |  | 0
| TOTAL FOR GATES CARRIED TO SUMMARY |  |  |  | 0
BILL SUMMARY
A | SUBSTRUCTURE |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
E | FINISHING |  |  |  | 0
F | GATES |  |  |  | 0
| TOTAL FOR EXTERNAL WORKS CARRIED TO GRAND SUMMARY |  |  |  | 0

## Security rooms
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 3 | SECURITY ROOMS
A | SUBSTRUCTURES
1) | Excavation and Earthwork
a) | Clear the site of all bushes shrubs small trees and burn the arising spoil | 22 | m2 |  | 0
c) | Excavate for strip foundation trenches 500mm wide commencing at oversite level and not exceeding 1200mm and carting away to spoil as directed by the site supervisor | 9.2 | m3 |  | 0
d) | Ditto but for column bases | 1.1 | m3 |  | 0
2) | Planking and strutting
a) | Allow for maintaining and supporting sides of excavations and for keeping the same free from fallen materials | 1 | Item |  | 0
3) | Backfilling
a | Return, fill in and ram selected excavated material around foundations | 6.6 | m3 |  | 0
4) | Selected filling
a) | Hardcore filling compacted in layers not exceeding 150mm deep and well watered | 3.6 | m3 |  | 0
b) | 50mm Thick murram blinding to surfaces of hardcore (Measured Seperately) | 2.2 | m3 |  | 0
5) | Anti-termite treatment
a) | Chemical anti-termite treatment as "Premise 200 SC" or other equal and approved executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore and under trench surfaces. | 22 | m2 |  | 0
6) | Damp proof membrane
a) | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | 22 | m2 |  | 0
7) | Concrete work
Plain concrete class 15 (mix 1:3:6)
a) | 50mm Thick surface blinding under column bases | 0.5 | m3 |  | 0
Insitu concrete class 25, vibrated and reinforced as described, in:-
b) | Column bases and starters | 0.58 | m3 |  | 0
c) | Ground beam | 1.4 | m3 |  | 0
d) | 100mm thick ground floor slab | 2.2 | m3 |  | 0
f) | Steps | 0.2 | m3 |  | 0
8) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Column bases
b) | 12mm | 55 | kg |  | 0
c) | 8mm | 15 | kg |  | 0
Ground beam
d) | 12mm | 82 | kg
e) | 8mm | 55 | kg |  | 0
Mesh reinforcement ; B.S. 4483 weighing 2.22 kgs per square meter including bends, tying wire and spacing blocks
e) | Fabric mesh reinforcement to ground floor slab | 22 | m2 |  | 0
9) | Formork
Formwork in sawn finish at any level to:-
a) | Vertical sides of columns starters | 6.5 | m2 |  | 0
b) | Ditto sides of ground beam | 9.2 | m2 |  | 0
10) | Rumble Foundation walling
Selected stones bedded and jointed in cement and sand (1:3) mortar
a) | 400mm thick walls | 12 | m3 |  | 0
| TOTAL FOR SUBSTRUCTURES AND SITE PREPARATIONS CARRIED TO SUMMARY |  |  |  | 0
2 | STRUCTURAL FRAME
1) | Reinforced Concrete
Insitu concrete class 25/20 , vibrated and reinforced as described, in:-
a) | Beams | 1.5 | m3 |  | 0
b) | Columns | 1.8 | m3 |  | 0
b) | Concrete walling | 2 | m3 |  | 0
d) | Staircase | 0.5 | m3 |  | 0
e) | Sun shades | 0.5 | m3 |  | 0
2 | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Beams
b) | 12mm | 82 | kg |  | 0
c) | 8mm | 55 | kg |  | 0
| Columns |  |  |  | 0
d) | 12mm | 87.3 | kg |  | 0
e) | 8mm | 53 | kg |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO SUMMARY |  |  |  | 0
3 | WALLING
| Three- ply bituminous felt damp proof course bedded in cement and sand (1:3) mortar (measured nett allow for 300mm laps):- |  |  |  | 0
a) | 200mm wide | 23 | m |  | 0
1) | External Walling
Solid concrete block walls bedded and jointed in cement and sand (1:3) mortar
a) | 200mm thick walls reinforced with two lines of hoop iron after every three courses | 50 | m2 |  | 0
b) | Ditto:Sun shading features | 6 | m2 |  | 0
c) | Ditto: Parapet wall | 11.5 | m2 |  | 0
| Coping |  |  |  | 0
d) | 300x50mm thick precast concrete coping bedded on top of walling in cement and sand (1:3) mortar | 2.2 | m |  | 0
| TOTAL FOR WALLING CARRIED TO SUMMARY |  |  |  | 0
D | DOORS
Note: All doors to be supplied and fixed s per the details and schedule provided. All iron Mongery that has not been measured separately shall be priced together with the corresponding door.
i) | Supply 900X2100mm high hardwood framed door with 600mm high funlight with glazing, 1 1/4" thick flush paneled door sashes with a 150x75mm softwood timber frame, 3 pairs of heavy quality brass oxidized hinges and 3lever mortice lock. The door to be painted in 3coats of clear furnish | 1 | No |  | 0
| TOTAL FOR DOORS CARRIED TO SUMMARY |  |  |  | 0
E | WINDOWS
2) | Aluminium Windows
Door shutter made out of white (RAL 9010)powder coated aluminium profiles, lamellas, etc; 6mm thick laminated obscured glass; fixed as per the details: All iron mongery all fixed to manufacturer's specifications (See details provided)
a) | Window size 12 00x 1200mm (AW01) | 2 | Nr |  | 0
| TOTAL FOR WINDOWS CARRIED TO SUMMARY |  |  |  | 0
2) | Wall Finishes
Internal Walls: 13mm thick cement sand (1:3) plaster, with steel trowelled finish to:-
a) | Internal Sides of block wall and concrete surfaces | 65 | m2 |  | 0
b) | Ditto: to reveals of openings | 5 | m2 |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
d) | Plastered wall surfaces | 65 | m2 |  | 0
e) | Reveals of openings | 5 | m2 |  | 0
External Walls: 15mm Cement and sand (1:3) render on block wall or concrete work to:-
g) | Concrete or block wall surfaces externally | 56 | m2 |  | 0
External Walls: Fill uneven surfaces with stucco filler to approval including sanding of all uneven surfaces; apply two coats of white wash and two finishing coats of resin based permaplast weather proof paint which is offering protection against severe tropical weather as:
h) | Pure white RAL code 9010 to wall surfaces | 56 | m2 |  | 0
3) | Floor finishes
Insitu cement and sand (1:3) screeded beds, with steel trowelled finish , on concrete
a) | 40mm thick screed smooth finished | 22 | m2 |  | 0
| TOTAL FOR FINISHES CARRIED TO SUMMARY |  |  |  | 0
I | ROOF
| Roofing with 28 guage Iron corrugated sheets and timber roof trusses c/c 2m All roof trusses anchored with 6 mm dia bars casted in the roof beam. Dimenstions: tie beam 2"x6", Rafters 2'x4", Purloins 2"x3" King post 2"x6", Brazing 2"x3" | 25 | m2 |  | 0
a) | 4mm thick ply wood ceiling boardsecret nailed to timber brandering (m/s), nails punched and puttied; set to pattern to ceilings | 22 | m2 |  | 0
2) | Rain Water Disposal
Supply and fix uPVC rain water system with solvent welded, seal ring or dry joints to manufacturer's instructions.
a) | 100 mm Diameter grey rainwater down pipe | 4 | Nr |  | 0
b) | 100 mm Diameter galvanized mild steel fulbora rainwater outlet complete with dome type grating, flange, raising ring, PVC adaptor and other accessories including connecting to downpipe. | 4 | Nr |  | 0
c) | 100mm Shoe | 4 | Nr |  | 0
| TOTAL FOR ROOF FINISHES AND RAIN WATER DISPOSAL CARRIED TO SUMMARY |  |  |  | 0
ELECTRICAL INSTALLATION
| Allow a provisional sum for electrical installation | 1 | nr |  | 0
| TOTAL FOR ELECTRICAL INSTALLATION CARRIED TO SUMMARY |  |  |  | 0
| DESCRIPTION |  |  |  | AMOUNT (USD)
BILL SUMMARY
A | SUBSTRUCTURES AND SITE PREPARATIONS |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
D | DOORS |  |  |  | 0
E | WINDOWS |  |  |  | 0
F | FINISHES |  |  |  | 0
I | ROOF AND RAIN WATER DISPOSAL |  |  |  | 0
K | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL FOR SECURITY ROOMS |  |  |  | 0

## Prayer room & store
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 3 | SECURITY ROOMS
A | SUBSTRUCTURES
1) | Excavation and Earthwork
a) | Clear the site of all bushes shrubs small trees and burn the arising spoil | 60 | m2 |  | 0
c) | Excavate for strip foundation trenches 500mm wide commencing at oversite level and not exceeding 1200mm and carting away to spoil as directed by the site supervisor | 16.4 | m3 |  | 0
d) | Ditto but for column bases | 1.1 | m3 |  | 0
2) | Planking and strutting
a) | Allow for maintaining and supporting sides of excavations and for keeping the same free from fallen materials | 1 | Item |  | 0
3) | Backfilling
a | Return, fill in and ram selected excavated material around foundations | 18 | m3 |  | 0
4) | Selected filling
a) | Hardcore filling compacted in layers not exceeding 150mm deep and well watered | 9 | m3 |  | 0
b) | 50mm Thick murram blinding to surfaces of hardcore (Measured Seperately) | 3 | m3 |  | 0
5) | Anti-termite treatment
a) | Chemical anti-termite treatment as "Premise 200 SC" or other equal and approved executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore and under trench surfaces. | 60 | m2 |  | 0
6) | Damp proof membrane
a) | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | 60 | m2 |  | 0
7) | Concrete work
Plain concrete class 15 (mix 1:3:6)
a) | 50mm Thick surface blinding under column bases | 0.5 | m3 |  | 0
Insitu concrete class 25, vibrated and reinforced as described, in:-
b) | Column bases and starters | 0.58 | m3 |  | 0
c) | Ground beam | 2.5 | m3 |  | 0
d) | 100mm thick ground floor slab | 6 | m3 |  | 0
f) | Steps | 0.2 | m3 |  | 0
8) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Column bases
b) | 12mm | 55 | kg |  | 0
c) | 8mm | 15 | kg |  | 0
Ground beam
d) | 12mm | 146 | kg
e) | 8mm | 78 | kg |  | 0
Mesh reinforcement ; B.S. 4483 weighing 2.22 kgs per square meter including bends, tying wire and spacing blocks
e) | Fabric mesh reinforcement to ground floor slab | 60 | m2 |  | 0
9) | Formork
Formwork in sawn finish at any level to:-
a) | Vertical sides of columns starters | 6.5 | m2 |  | 0
b) | Ditto sides of ground beam | 16.4 | m2 |  | 0
10) | Rumble Foundation walling
Selected stones bedded and jointed in cement and sand (1:3) mortar
a) | 400mm thick walls | 25 | m3 |  | 0
| TOTAL FOR SUBSTRUCTURES AND SITE PREPARATIONS CARRIED TO SUMMARY |  |  |  | 0
2 | STRUCTURAL FRAME
1) | Reinforced Concrete
Insitu concrete class 25/20 , vibrated and reinforced as described, in:-
a) | Beams | 2.5 | m3 |  | 0
b) | Columns | 1.8 | m3 |  | 0
d) | Staircase | 0.65 | m3 |  | 0
e) | Sun shades | 0.5 | m3 |  | 0
2 | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
Beams
b) | 12mm | 146 | kg |  | 0
c) | 8mm | 78 | kg |  | 0
Columns
d) | 12mm | 87.3 | kg |  | 0
e) | 8mm | 53 | kg |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO SUMMARY |  |  |  | 0
3 | WALLING
| Three- ply bituminous felt damp proof course bedded in cement and sand (1:3) mortar (measured nett allow for 300mm laps):- |  |  |  | 0
a) | 200mm wide | 41 | m |  | 0
1) | External Walling
Solid concrete block walls bedded and jointed in cement and sand (1:3) mortar
a) | 200mm thick walls reinforced with two lines of hoop iron after every three courses | 126 | m2 |  | 0
b) | Ditto:Sun shading features | 6 | m2 |  | 0
c) | Ditto: Parapet wall | 20 | m2 |  | 0
| Coping |  |  |  | 0
d) | 300x50mm thick precast concrete coping bedded on top of walling in cement and sand (1:3) mortar | 1 | m3 |  | 0
| TOTAL FOR WALLING CARRIED TO SUMMARY |  |  |  | 0
D | DOORS
Note: All doors to be supplied and fixed s per the details and schedule provided. All iron Mongery that has not been measured separately shall be priced together with the corresponding door.
i) | Supply 900X2100mm high hardwood framed door with 600mm high funlight with glazing, 1 1/4" thick flush paneled door sashes with a 150x75mm softwood timber frame, 3 pairs of heavy quality brass oxidized hinges and 3lever mortice lock. The door to be painted in 3coats of clear furnish | 1 | No |  | 0
| TOTAL FOR DOORS CARRIED TO SUMMARY |  |  |  | 0
E | WINDOWS
2) | Aluminium Windows
Door shutter made out of white (RAL 9010)powder coated aluminium profiles, lamellas, etc; 6mm thick laminated obscured glass; fixed as per the details: All iron mongery all fixed to manufacturer's specifications (See details provided)
a) | Window size 12 00x 1200mm (AW01) | 8 | Nr |  | 0
| TOTAL FOR WINDOWS CARRIED TO SUMMARY |  |  |  | 0
2) | Wall Finishes
Internal Walls: 13mm thick cement sand (1:3) plaster, with steel trowelled finish to:-
a) | Internal Sides of block wall and concrete surfaces | 130 | m2 |  | 0
b) | Ditto: to reveals of openings | 8 | m2 |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
d) | Plastered wall surfaces | 130 | m2 |  | 0
e) | Reveals of openings | 8 | m2 |  | 0
External Walls: 15mm Cement and sand (1:3) render on block wall or concrete work to:-
g) | Concrete or block wall surfaces externally | 115 | m2 |  | 0
External Walls: Fill uneven surfaces with stucco filler to approval including sanding of all uneven surfaces; apply two coats of white wash and two finishing coats of resin based permaplast weather proof paint which is offering protection against severe tropical weather as:
h) | Pure white RAL code 9010 to wall surfaces | 115 | m2 |  | 0
3) | Floor finishes
Insitu cement and sand (1:3) screeded beds, with steel trowelled finish , on concrete
a) | 40mm thick screed smooth finished | 60 | m2 |  | 0
Tilling
Supply and fix 300x300mm clay floor tiles approved from samples provided; on backing screed (measured seperately) to:-
| Floor | 60 | m2 |  | 0
Ditto
| Skirtting | 3.8 | m2 |  | 0
a) | Wet area (ablution) | 10 | m2 |  | 0
| TOTAL FOR FINISHES CARRIED TO SUMMARY |  |  |  | 0
I | ROOF
| Roofing with 28 guage Iron corrugated sheets and timber roof trusses c/c 2m All roof trusses anchored with 6 mm dia bars casted in the roof beam. Dimenstions: tie beam 2"x6", Rafters 2'x4", Purloins 2"x3" King post 2"x6", Brazing 2"x3" | 68 | m2 |  | 0
a) | 4mm thick ply wood ceiling boardsecret nailed to timber brandering (m/s), nails punched and puttied; set to pattern to ceilings | 60 | m2 |  | 0
2) | Rain Water Disposal
Supply and fix uPVC rain water system with solvent welded, seal ring or dry joints to manufacturer's instructions.
a) | 100 mm Diameter grey rainwater down pipe | 4 | Nr |  | 0
b) | 100 mm Diameter galvanized mild steel fulbora rainwater outlet complete with dome type grating, flange, raising ring, PVC adaptor and other accessories including connecting to downpipe. | 4 | Nr |  | 0
c) | 100mm Shoe | 4 | Nr |  | 0
| TOTAL FOR ROOF FINISHES AND RAIN WATER DISPOSAL CARRIED TO SUMMARY |  |  |  | 0
J | PLUMBING INSTALLATIONS AND SERVICES
a) | Concrete benches | 1 | m3 |  | 0
Supply, deliver and install pipes, tubing and fittings as described and shown on the drawings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors whereunions, sockets, sliding and fixed joints, support raceways, isolating required, valves, sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
b) | Supply and install heavy duty PPR pipes including all connections | 1 | Item |  | 0
c) | Heavy duty brass taps | 1 | Item |  | 0
d) | Allow for builders work in connection with plumbing & drainage installation(Provisional sum) | 1 | Item |  | 0
e) | Allow for heavy duty U.P.V.C 3" drainage pipework, and fittings(Provisional sum) | 1 | Item |  | 0
FINISHES
15mm Cement and sand (1:3) render on block wall or concrete work to:-
a | Concrete benches | 6 | Item |  | 0
b | drainage chennal | 3 | m |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
a | Concrete benches | 1 | Item |  | 0
| TOTAL FOR PLUMBING AND SERVICES CARRIED TO SUMMARY |  |  |  | 0
ELECTRICAL INSTALLATION
| Provision of power supply from nearby power source. Supply and instalation of PVC/SWA/PVC Copper cables per meter (a) 25mm sq. 4 core (b ) 95mm sq. 4 core LIGHTING POINTS AND SWITCHES Lighting points wired in 3x1.5 mm2 PVC/SC cables drawn in 20 mm Ǿ concealed HG PVC conduits complete with all necessary accessories but excluding switches for:(a)One way switching (b) Two Way with Intermediate Switching 10A moulded ivory type switch plates as MK range or approved equivalent of One gang one way Supply and instalation of Single Light Bulb Lighting fittings, Socket outlet power points comprising wiring in 3 x2.5mm2 PVC/SC copper cables drawn in 25mm Ø CONCEALED HG PVC conduits including all conduit accessories but excluding plates, Supply and instalation of 13A moulded socket outlet plates as crabtree or approved equivalent of Twin switched. Supply and instalation of 15A Single switched socket outlet plates as crabtree or approved equivalent, 50mmØ PVC HG conduits. Supply and instalation of METER BOARD 100 Amps TPN MCCB as MEM or appoved Equivalent Supply and instalation of Earthing of the meterboard and the installation comprising of the following 15mm x 1800mm earth rod as FURSE cat. No. RB 105. Supply, installing, testing and commissioning of metallic double door type distribution board with all necessary connection complete to be installed concealed in wall /surface mount complete to the satisfaction of the Engineer in charge. The DB should be of same make as MCB make. All MCBs & ELCBs must be 10KA Short Circuit Current Rated. All DBs Must be Legrand Model EKINIOX3 or Hager Model NOVELLO | 1 | nr |  | 0
| TOTAL FOR ELECTRICAL INSTALLATION CARRIED TO SUMMARY |  |  |  | 0
| DESCRIPTION |  |  |  | AMOUNT (USD)
BILL SUMMARY
A | SUBSTRUCTURES AND SITE PREPARATIONS |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
D | DOORS |  |  |  | 0
E | WINDOWS |  |  |  | 0
F | FINISHES |  |  |  | 0
I | ROOF AND RAIN WATER DISPOSAL |  |  |  | 0
K | PLUMBING INSTALLATION AND SERVICES |  |  |  | 0
K | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL FOR SECURITY ROOMS |  |  |  | 0

## Guard towers
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 1: | GUARD TOWERS
A | SUBSTRUCTURES
1) | Site clearance
a | Clear the site of all bushes shrubs small trees and burn the arising spoil | 2 | m2 |  | 0
2 | Excavations
a | Excavate in soft material for foundation trenches not exceeding 1.2m deep starting from stripped leveln | 6 | m3 |  | 0
3 | Disposal of excavated materials
a) | Cart away surplus excavated material | 2 | Item |  | 0
b | Return fill and compact selected excavated materials around foundations | 3 | m3 |  | 0
| TOTAL FOR SUBSTRUCTURES CARRIED TO SUMMARY |  |  |  | 0
B | REINFORCED CONCRETE FRAME
Insitu concrete ; reinforced;class 20/(20mm): vibrated
a) | Construction of RCC beams of the floor and Collumn bases roof slab 0.2mx0.2mx8x2 Assorted steel bars 4 No 12Ǿ at spacing of staff 200mm@Cc | 1 | m3 |  | 0
b | Construction of RCC columns with dimensions 0.4mx0.4mx7m Assorted steel bars for column footing both directions @ 16Ǿ spacing 200mm Cc | 3 | m3 |  | 0
c | RCC mat foundation trench and RCCA footings columns assorted steel bars for footing both directions 12diam specing 250mm@c-c | 3 | m3 |  | 0
d | Construction of RCC floor and roof slab for guard tower 2mx2mx0.2m steel bars of the floor& roof slab both X-direction | 1 | m3 |  | 0
Reinforcement( all provisional)
| Bars; high yield steel; cold worked to B.S. 4461 including bends, hooks, tying wire and distance blocks of assorted diameter | 200 | KG |  | 0
e | Assorted bars
In-situ concrete :-Mass concrete( 1.3.6/38-38mm aggregate)
c) | 50mm thick mass concrete class Q(1:3:6) to bottoms of columns bases | 1 | m3 |  | 0
Sawn formwork to insitu concrete as described:-
A | to sides of suspended Slabs | 16 | m2 |  | 0
B | Ditto: sides of Columns bases | 5 | m2 |  | 0
C | Ditto: Beams | 2 | m2 |  | 0
D | To sides of the wall | 6.5 | m2 |  | 0
E | Toside of columns | 40 | m2 |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO SUMMARY |  |  |  | 0
WALLING
200mm thick reinforced concrete walling cast cement and sand -aggregate (1:2:4) mortar, reinforcement with 12mm diam re bars alternate course as described in:
A | 200mm thick Reinforced concrete Retaining Wall at height of 1.4m class Q (1:3:6) at the top of Slab | 1.68 | m3 |  | 0
B | 8mm- 25 mm diameter assorted | 150 | KG |  | 0
| TOTAL FOR WALLING CARRIED TO SUMMARY |  |  |  | 0
E | FINISHING
15 mm cement and sand (1:3) render, finished with woodfloat to:-
1 | Walls, and Columns | 20 | m2 |  | 0
4 | Painting and decorating
Prepare and apply three coats of first
a | Plastered walls externally | 20 | m2 |  | 0
E | Floor finishes( Beds or Backings)
Screed; cement and sand (1:3)
1 | 40mm thick one coat backings; wood floated to concrete base; smooth trowelled in red-oxide; to floors level; internal | 4 | m2 |  | 0
| TOTAL FOR FINISHING CARRIED TO SUMMARY |  |  |  | 0
E | CONCRETE STAIR
| Provide profissional sum and Provide 3m and 500mm wide Vertical Concrete staircase with railings on both sides to access the Observation Post | 1 | No |  | 0
| TOTAL FOR LADDER CARRIED TO SUMMARY |  |  |  | 0
E | LIGHTING
| Supply all materials and mount 4 LED 150W floodlights on either side of the towers | 4 | No |  | 0
| TOTAL FOR LIGHTING CARRIED TO SUMMARY |  |  |  | 0
BILL SUMMARY
A | SUBSTRUCTURE |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
D | FINISHING |  |  |  | 0
E | Stairs |  |  |  | 0
F | LIGHTING |  |  |  | 0
| TOTAL FOR EXTERNAL WORKS CARRIED TO GRAND SUMMARY |  |  |  | 0
| Total for 2 No. Guard Towers |  |  |  | 0

## Septic tank
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO. 1: | SEPTIC TANK, AND FOUL DRAINAGE
A | SUBSTRUCTURES
1) | Excavation and Earthwork
Excavations including maintaining and supporting sides and keeping free from water, mud and fallen material
a) | Stripping of surface and excavation for septic tank in soft soil up to depth of approximately 1.8m; pit dimensions: 32.5m width x 5m length | 22.5 | m2 |  | 0
b) | Excavation for septic tank in hard rock at a depth approximately starting at 1.8m, finishing at 3.0 m; 2.5m width x 5m length. (when rock is not encountered, the excavation rates in soft soil will apply at these depths) | 15 | m3 |  | 0
c | Reinforced concrete class 25,
d | 150mm thick vibrated reinforced concrete for bottom | 1.88 | m3 |  | 0
e | Reinforcement, as described (PROVISIONAL) High yield square twisted reinforcement to BS 4461
f | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for bottom slab; Y10@ 200mm c/c . | 9.2 | KG |  | 0
g | Supply and fix sawn formwork to sides of bottom slab | 12.5 | LM |  | 0
4) | 200x400mm block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with and including 25mm wide x 20 gauge hoop iron at every alternate course as described in:
a) | Sub-Structure walling | 43.75 | m3 |  | 0
b) | Cement and sand (1:3) screeds, backings, beds etc
| 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat for internal walls. | 62.5 | m2 |  | 0
Reinforced concrete class 25,
| Supply all materials and cast a 125mm thick vibrated reinforced concrete slab, mix1:2:4 or class 20/20. Top slab dimensions 2.5m x 5.0m | 1.6 | m2 |  | 0
Reinforcement, as described (PROVISIONAL) High yield square twisted reinforcement to BS 4461
a) | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for top slab; Y10@ 200mm c/c . | 12.5 | m3 |  | 0
b) | Supply and fix sawn formwork to sides of bottom slab | 12.5 | m3 |  | 0
c) | Supply and fix sawn formwork beneath the slab | 3 | m3 |  | 0
d) | Manhole walling; 800mm wide x 800mm long x 450mm depth | 4 | m3 |  | 0
f) | Manhole frame and covers | 60 | PCS |  | 0
G | Tank piping, fittings and accessories which includes among others ring bearers anchored in the wall and a 2.5 m heigh 4'' vent pipe with rain cower and fly net | 1 | Item |  | 0
H | 4" brown sewer pipes with accessories laid with 1% slope in trench of 0.5 to 0.8 m depth | 12 | LM |  | 0
Reinforced concrete class 25,
I | Supply all materials and cast R.C. buffer beam, 100mm wide x 450mm deep, concrete class 20 | 0.3 | m3 |  | 0
J | 12mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for ring beam reinforcement, 4Y12 | 23 | kg |  | 0
K | Curing of all concrete and masonry works. Where applicable, sand may be used for covering the concrete or masonry works to be cured and removed afterwards. | 1 | Item |  | 0
Step Irons
L | Standard Cast iron step iron fixed to concrete walls | 5 | No |  | 0
Water bar
M | 200 mm thick bulb type PVC or Rubber water bar from approved manufacturer | 10 | LM |  | 0
Sundries
N | Allow for making 100 mm diameter openings in 200 mm concrete wall. | 10 | No |  | 0
a) | Ditto for making 100 mm diameter openings in 150 mm concrete block wall. | 2 | No |  | 0
b) | Ditto for making 150 mm diameter openings in 200 mm concrete wall. | 2 | No |  | 0
| TOTAL FOR SEPTIC TANK CARRIED TO SUMMARY |  |  |  | 0
10) | FOUL WATER DRAINAGE
Supply and fix uPVC soil system to BS 4660 and BS 4515 and MuPVC waste system to BS 5255 with screwed and socketed joints to BS 21. Solvent welded joints shall be as per the system manufacturers written instructions. Tenderers must allow in their pipework prices for all the couplings, connectors, joints etc. as required in the running lengths of pipework and also where necessary for pipe fixing clips, holder bats, plugs and screwed. The installation must comply with BS 5572 and fixing to be to the manufacturer's printed instructions. Note: Trade Names Caradon Terrain Ltd.'s pipe and fittings have been used as a guide to the type and quality of materials required. Other brands must be equal and approved in writing by the Engineer before installation. One brand only shall be used and inconsistency shall not be accepted.
Excavation and Earthwork
Excavation of drain trenches including maintaining sides and keeping bottoms free from water, mud and fallen materials, grading bottoms, and carting away surplus excavated material.
A | For 150 mm uPVC drain pipe average depth 750 mm | 15 | m3 |  | 0
B | uPVC drain pipes and fittings to BS 5481 50 mm Pipes with lip seal joints laid in trench | 15 | m |  | 0
Imported Filling
C | Selected granular fill materials in trenches | 4.5 | m3 |  | 0
D | Compacted backfill | 0.45 | m3 |  | 0
Inspection Chambers (4No.)
Excavations
F | Excavate in soft material for inspection chambers including loading and carting away surplus excavated materials not exceeding 1.0 metres deep from ground level. | 1.15 | m3 |  | 0
Concrete
b) | 50mm thick plain concrete class 15 (1:3:6) blinding | 0.02 | m3 |  | 0
c) | 100 mm thick plain concrete class 20 (1:2:4) base | 0.14 | m3 |  | 0
| Profiled channel finished in water proof cement sloped to fall to the direction of effluent flow | 16 | m2 |  | 0
e) | Formwork
a) | Formwork to sides of concrete base, | 1.92 | m2 |  | 0
1) | Construct solid concrete block walling; bedding, jointing and pointing in cement sand (1:3) mortar
a) | 150 mm Thick walling | 5.76 | m2 |  | 0
b) | Covers
c) | 500 x 500mm medium duty pre-manufactured cast iron cover including frames | 4 | No |  | 0
| Allow for all necessary connections of the inspection chambers to the septic tanks | 1 | Item |  | 0
d) | Allow for setting to work, testing and commissioning of the drainage system. | 1 | Item |  | 0
| TOTAL FOR FOUL DRAINAGE CARRIED TO SUMMARY |  |  |  | 0
| DESCRIPTION |  |  |  | AMOUNT (USD)
BILL SUMMARY
A | SEPTIC TANK |  |  |  | 0
B | WATER FOUL DRAINAGE |  |  |  | 0
| TOTAL FOR SECURITY ROOMS |  |  |  | 0

## Waiting shade
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QTY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO.3 | WAITING SHADE
Excavations
A | Excavate in soft material for sub wall foundation trench and concrete pedestals footing trenches not exceeding 1m deep starting from stripped level | m3 | 2.8 |  | 0
Disposal
C | Load, Wheel and deposit surplus excavated material away from site | m3 | 2.8 |  | 0
Selected and approved filing, as described
D | 300mm thick selected material bed, spread, levelled, well rammed and consolidated and blinded with murram 50mm thick to receive damp proof membrane (m.s) | m3 | 13.6 |  | 0
Anti-termite to treatment
| Chemical anti-termite treatment, executed compete by an approved specialist under a ten-year guarantee to surfacesof hardcore | m2 | 45 |  | 0
Flooring
Supply and fix 150x150mm clay floor tinterlocks approved from samples provided; on backing screed (measured seperately) to:-
E | Floor | m2 | 45 |  | 0
Reinforced concrete class (25) as described, in:
H | Supply all materials and cast RC concrete column 200mm X 200 mm 1:2:4(Superstructure) including footings. Use heavy duty PVC pipe as formwork | m3 | 1.2 |  | 0
I | Supply all materials and cast R.C. ring beam, 200mm x 150mm, vibrated reinforced concrete 1:2:4 (class 20/20) | m3 | 0.9 |  | 0
Solid concrete block walling, reinforced with iron hoop at every altenative course, joined in cement sand mortar
J | Walling thickness 200mm (Curbs) | m2 | 11.2 |  | 0
Finishing
13mm thick cement sand (1:3) plaster, with steel trowelled finish to:-
K | Beam | m2 | 19.6 |  | 0
L | Curbs | m2 | 6 |  | 0
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code Code 9001) and two finishing coats of first quality brilliant whote Silk Vinyl emulsion paint (RAL Code 9001) to;-
M | Beam | m2 | 19.6 |  | 0
N | Curbs | m2 | 6 |  | 0
Roofing
O | Reroofing with 28 guage Iron corrugated sheets and timber roof trusses c/c 2m All roof trusses anchored with 6 mm dia bars casted in the roof beam. Dimenstions: tie beam 2"x6", Rafters 2'x4", Purloins 2"x3" King post 2"x6", Brazing 2"x3" | 48 | m2 |  | 0
P | 4mm thick ply wood ceiling boardsecret nailed to timber brandering (m/s), nails punched and puttied; set to pattern to ceilings | 45 | m2 |  | 0
| TOTAL FOR WAITING SHADE CARRIED TO GRAND SUMMARY |  |  |  | 0

## Solar
BILLS OF QUANTITIES
PROPOSED INSTALATION OF SOLAR ENERGY AT KISMAYO IND HQ (20KW)
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
A | PV Mounting structure: Supply and install Module mounting structure from Aluminium profile structures to fix the photovoltaic panels. The structure must be suitable to the dimension of selected PV modules and PV numbers, the mounting provides a fixed inclination of the modules 30 degree with vertical supports, plates, the structure profile includes bracing and double hot galvanized angles for dividers.The mounting structures and the foundations must be designed structurally to be suitable to withstand all static loads (weight of modules, wind loads etc) that might occur according to the Site conditions. The mounting structure components are bonded together to guaranty potential equalization. All works and materials must be according to drawings, specifications and supervisor instructions and approval. | L.S | 1 |  | 0
B | PV Modules – 20 kWp: PERC SOLAR CELL, 390W Supply, install, connect and operate Mono Crystalline or Polycrystalline Photovoltaic Solar Modules with all material needed to have complete job ready for installing high quality PV modules with total arrays capacity to achieve 20 KWp. The item Includes supply, install & connect the following: • Water proof PV junction boxes for each array including DC Fuses, DC switch disconnectors, bus bars ,terminals, ducts or trays, supports & labels suitable to the PV arrays loads. • Solar DC cables appropriately sized to connect the PV solar cells together and to the inverter directly to have a complete operational circuit with all conduits, clamps , trays and cable end terminations which shall be DC plug and socket connectors . The DC cables must be sized in accordance with the installation requirements applicable on site, the allowable voltage drop for DC cables between PV Arrays and inverter less than 1%. • Contractor must submit manufacturer warranty for solar panel for a period not less than 20 years. • Contractor must submit all the required certificates for each PV solar panel from. All works and materials must be according to the drawings, specifications and supervisor engineer instruction’s and approval. | UNIT | 60 |  | 0
C | Inverters – 20 KW: Supply, install, connect and operate DC/AC grid tie 3-phase inverter with data communication and energy meter .The inverterwith must be suited to any PV module configuration, and depending on the system design and installation proposed and for the future extended also. (Type is SMA or equivalent). The DC max power input rating should be equal or more than 20 KW of the PV modules capacity at standard test condition. The inverter unit shall be suitable for indoor and outdoor installations . The inverter AC nominal power output rating must be equal or greater than 15 KW compatible with the AC loads design. The inverter must include the safety concepts such as (triple protection with optiprotect, electronic strings fuses, self-learning string failure detection, DC surge arrestor type 2 ) to ensure max availability. The price includes : • Supply, install and connect (monitoring and controlling unit) for all PV solar system installed especially compatible with the inverters, with all needed accessories, interface modules & data cables and all connections needed to complete and connect the monitoring system to internet. • Supply , install and connect all DC cables appropriately sized in accordance with the installation requirements and to connect the inverters with PV system designed with all conduits, clamps, trays and cable terminations end which shall be DC plug and socket connectors to have a complete job, the allowable voltage drop for DC cables between inverters and PV system not less than 1%. • Inverters shall allow an adjustable power factor minimum AC output power with all necessary electrical cables, earthing system, Conduits, trays and all other materials and workmanship needed to connect with the main distribution panel according to the engineer's instruction and approval and have a complete job. • The contractor must submit manufacturer warranty for each inverter for a period not less than 5 years. All works and materials must be according to the drawings, specifications and supervisor engineer instruction’s and approval. | UNIT | 3 |  | 0
D | Installation, Test, Commissioning of the solar system.The work includes training of the a local officer on the operation and maintenance of the solar system for 2 days minimum. All works and materials must be according to the drawings, specifications and supervisor engineer instruction’s and approval. | Lumps | 1 |  | 0
E | CABLES AND ACCESSORIES: Supply and Install all required types & sizes of Electrical Cables with all connections between Solar Panels, Inverter.Terminal Electrical Boxes. 4, 2 cores DC, Copper Earth Cables with all required accessories, Install AC protection panel & AC Cables from system cupboard to main panel. All works and materials must be according to the drawings, specifications and supervisor engineer instruction’s and approval. | Set | 1 |  | 0
F | Transport and logistics | Lumps | 1 |  | 0
| GRANT TOTAL FOR SOLAR INSTALLATION |  |  |  | 0

## PC SUM
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (USD) | AMOUNT (USD)
BILL NO.4 | PRIME COST AND PROVISIONAL SUMS
| The cost bid for the External toilets should be a lumpsum to meet the technical description presented below and as presented in the design drawings, and include all preparation, construction, finishing components : |  |  |  | 0
a | Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, plumbing fixtures ( 3 toilets ), ceramic floor tiles, electrical works, plumbing and drain / sewage works, exactly as per the design drawings and the specifications, Total for t.(1 ladies and 2 Gents) | 3 | lumpsum |  | 0
The cost bid for the outside Kitchen should be a lumpsum to meet the technical description presented below and as presented in the design drawings, and include all preparation, construction, finishing components :
| Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, worktops internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, plumbing fixtures , ceramic floor tiles, electrical works, plumbing and drain / sewage works, exactly as per the design drawings and the specifications, | 1 | lumpsum |  | 0
b | Provide profissional sum for landscaping (footpaths and parkings interlocks) across the yard as per designs and by Instructions Engineer. Demolishings existing structures and site clearance post construction | 1 | Item |  | 0
c | Boom Barrier:- Supply and Provide 5'' (12.5cm) dia. Pipe for 9m long with three layers that is bonded by 2'' (50mm) dia. Pipe as Per drawing. Supply and Provide C Section Steel strips for fastening the Steel Barrier. Supply and Provide Plate for filling mass Concrete to Balance the Steel Barrier. and finally Fill the Box with Mass Concrete. this including painting | 1 | Item |  | 0
| TOTAL FOR PRIME COST AND PROVISIONAL SUMS CARRIED TO SUMMARY |  |  |  | 0

## Summary
BILLS OF QUANTITIES
CONSTRUCTION OF IND HQ IN KISMAYO
ITEM | DESCRIPTION | QUANTITY
BILL NO.5 | GRAND SUMMARY BAGE
| PRELIMENARY | 0
A | MAIN BUILDING | 0
B | BOUNDARY WALL | 0
C | SECURITY ROOM | 0
D | PRAYER ROOM AND STORE | 0
E | GUARD TOWERS | 0
F | SEPTIC TANK | 0
G | WAITING SHADE | 0
I | SOLAR | 0
J | PC SUMS | 0
| TOTAL | 0
| TOTAL FOR GRAND CONSTRUCTION OF IND HQ IN KISMAYO | 0