## Preliminaries
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
above.
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US DOllar currency, i.e. Dollars and Cents.
11 | The tender documents must be priced in ink.
INDEX
| SECTION NO. 1 |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  | CLASSROOMS
| SECTION NO.3 |  | WASHROOMS
GRAND SUMMARY
ITEM | DESCRIPTION | [7 empty] | AMOUNT (US$)
SECTION NO. 1
PRELIMINARIES
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  |  |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be representatives
of the Architect.
B | SITE
The site is located on Bule-Burte District
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position, the
nature of the ground, sub- strata and other local conditions, position of power and water
supplies, access roads or any other limitations, and no claims for extras will be considered
on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the area
necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use of any
materials found on the Site. Any such material utilized in the execution of the Contract shall be
measured and value assessed by the Quantity Surveyor and the amount credited to the
Employer.
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and prices stated
in the priced Bills of Quantities, which rates and prices shall cover all their obligations under the
Contract and all matters and things necessary for the proper completion and maintenance of
the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety
Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant in the contract.
| "BS" |  | Shall mean the current British Standard Specification published by the British
Standards Institution, 2 Park Street, London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw up a Time
and Progress Schedule setting out the order in which the Works are to be carried out with the
appropriate dates thereof. This Time and Progress Schedule is to be agreed with the Architect
and no deviation from the order set out in this Schedule will be permitted without the written
consent of the Architect. The Main Contractor will be responsible for arranging the above
programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated
Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
such dimensions.
[5 empty] | Carried To Collection |  |  | US$
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
[6 empty] | Carried To Collection |  | US$
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
alkaline substance in solution or suspension.
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
shall pay all fees and obtain all permits in connection therewith.
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
dangerous rubbish.
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
that all safety and protective gear are worn by all staff on site at all times
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
minimum standard for the work to which they apply.
[5 empty] | Carried To Collection |  |  | US$
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
Successful tests only (Provisional)
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
Architect and local authorities.
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
remain on site until completion of the works.
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
same completion.
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
exceeding 3.0meters and 6No barbed wire strands at equal spacing
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
safeguard the Works, plant and materials against damage and theft.
C | SIGNBOARD( TRANSPARENCY BOARD)
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
permission from the Architect.
[5 empty] | Carried To Collection |  |  | US$
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
all charges in connection therewith.
[5 empty] | Carried To Collection |  |  | US$
Collection
|  | Brought forward from Page |  |  |  | 1/3
|  | Brought forward from Page |  |  |  | 1/4
|  | Brought forward from Page |  |  |  | 1/5
|  | Brought forward from Page |  |  |  | 1/6
|  | Brought forward from Page |  |  |  | 1/7
|  | Brought forward from Page |  |  |  | 1/8
|  | Brought forward from Page |  |  |  | 1/9
|  | Brought forward from Page |  |  |  | 1/10
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$ |  | 0

## CLASSROOMS
PROJECT: BULEBURTE PRIMARY SCHOOL
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
| Project No: | 005HS/IOM/RDS/2019
| Project Title: | Construction of Buleburte Primary School
| Location: | BuleBurte District, Hiiraan Region, Hirshabale State, Somalia
Tender No:
Tender Title:
Original Issue:
CONSTRUCTION OF EIGHT CLASSROOMS
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
General
Preliminaries
A | Pre-construction work, mobilisation activities |  | lumpsum | 1 |  | 0
B | Post construction works and clean up. |  | lumpsum | 1 |  | 0
SUB TOTAL FOR GENERAL | [5 empty] | 0
SUB STRUCTURES
Earthwork schedules
D | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site |  | SM | 300 |  | 0
E | Excavate foundation trench commencing at stripped level and not exceeding 1.0m deep. |  | CM | 120.84 |  | 0
0
| Excavation of Columns Base |  | CM | 20 |  | 0
F | Return fill in and ram selected excavated material around foundations. |  | CM | 34.238 |  | 0
G | Remove surplus excavated material from site. |  | CM | 86.602 |  | 0
Selected hardcore
I | 300mm Selected hardcore bed, spread, levelled, well rammed and consolidated and blinded with 50mm thick murram, quarry dust or sand to receive damp proof membrane (measured separately). |  | CM | 112.14 |  | 0
Approved insecticide treatment.
J | 1000 Gauge polythene sheeting as damp proof membrane laid on blinded hardcore (measured separately) with welted laps (measured net - no allowance made for laps). |  | SM | 381 |  | 0
Concrete
Plain concrete class 15/40 OR mix (1:4:8)
K | 50mm Thick blinding below the stone foundation |  | CM | 6.042 |  | 0
Plain concrete class 20/40 OR mix (1:3:6)
L | Strip footing |  | CM | 20.14 |  | 0
0
| Column Base + Column Neck |  | CM | 10.6 |  | 0
M | Ground beam |  | CM | 16.112 |  | 0
0
N | 100mm thck floor bed |  | SM | 381 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
O | 8mm Bars |  | KG | 1874 |  | 0
P | 12mm Bars |  | KG | 2811 |  | 0
0
0
| Sawn formwork to: |  |  |  |  | 0
Q | Sides of the ground beams and strip footing |  | SM | 322.24 |  | 0
0
| Sides of the columns |  | SM | 92 |  | 0
0
| BRC |  |  |  |  | 0
0
T | A142 BRC |  | SM | 381 |  | 0
Substructures walling
U | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work |  | CM | 128.896 |  | 0
V | construction concrete steps including all necessary finishing |  | Lumsup | 6 |  | 0
SUBTOTAL FOR SUBSTRUCTURES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUPERSTRUCTURE - CONCRETE AND WALLING
W | Ring beam and lintel |  | CM | 18.4 |  | 0
0
X | Superstructures columns |  | CM | 2.8 |  | 0
| Veranda columns |  | CM | 1.54 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Z | 8mm Bars |  | KG | 1364.4 |  | 0
B1 | 12mm Bars |  | KG | 909.6 |  | 0
Sawn formwork to:
C1 | Sides of the ring beam and lintel beam |  | SM | 290.016 |  | 0
D1 | Sides of the columns |  | SM | 115.456 |  | 0
SUPERSTRUCTURE - WALLING
External and Internal Walls
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
E1 | 200 mm Thick walls |  | SM | 552.65 |  | 0
F1 | Ditto but vent blocks |  | SM | 7.68 |  | 0
SUB TOTAL FOR WALLING AND SUPERSTRUCTURE CONCRETE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
FINISHES
Interior wall finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
H1 | Walls: internally |  | SM | 552.65 |  | 0
Prepare & apply three coats of silk vinyl emulsion paint on plastered hollow block concrete surfaces: to
K1 | Walls: internally |  | SM | 552.65 |  | 0
| Ditto to Ventilation blocks |  | SM | 7.68 |  | 0
External Wall finishes
Cement and sand (1:4) render: on hollow block: steel trowel finished: to
L1 | 15mm thick:concrete: externally |  | SM | 597.29 |  | 0
Prepare surfaces and apply undercoat and two finishing coats first grade emulsion paint on hollow concrete wall surfaces: to
M1 | external hollow blocks and plinth level |  | SM | 597.29 |  | 0
N1 | Ditto to external sides of ventilation blocks |  | SM | 7.68 |  | 0
Floor finishes
Cement and sand (1:4) screed: to hacked floors: in
P1 | 40mm thick finished to receive ceramic tiles floor finish |  | SM | 381 |  | 0
600x 600 x 8mm non-slip ceramic floor tiles as approved, jointed & bedded with c/s mortar (1:3) grouting joints in matching cement:
Q1 | To floor |  | SM | 381 |  | 0
R1 | 100 x 8mm skirting to match |  | Lm | 200 |  | 0
SUBTOTAL FOR FINISHES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
ROOFING
Roofing trusses- light timber work
Sawn cypress: first grade: clean: pre-treated with wood preservative to engineers approval: including jointing and connections as necessary
Supply and fix the following treated softwood including fabrication and hoisting in position
X1 | 100x50mm for rafters, ridge and tie beam, 75x50mm for ties, struts and purlins. The cost including supply and fixing. |  | SM | 419.1 |  | 0
Y1 | Roof sheets as IT4 profile gauge 28 pre-painted galvanised roofing sheets laid with 95 mm side and 200 mm end laps hook bolts, PVC washer and tropicalized slip cup |  | SM | 419.1 |  | 0
Z1 | 200x25mm fascia board |  | LM | 115 |  | 0
0
| Suppy and provide 10mm deorative chipboard ceiling |  | SM | 381 |  | 0
SUBTOTAL FOR ROOF WORKS | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
WINDOWS
T1 | Aluminuim windows
| Window frame size 1200X1200 MM |  | NO | 30 |  | 0
0
SUBTOTAL FOR WINDOWS | [5 empty] | 0
DOORS
Complete Standard steel panneled door with mortise lock and well painted. The doors should have three hinges
V1 | 900x2400 mm high |  | No. | 8 |  | 0
| SUBTOTAL FOR DOORS |  |  |  |  | 0
Electrical works
C2 | Provide a Provisional Sum of US$. for Electrical Installations to be expended as directed by the Architect and measured and valued on completion |  | NO | 1 |  | 0
SUBTOTAL ELECTRICAL WORKS | [5 empty] | 0
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
Summary of Buleburte Classrooms
1 | Subtotal for General |  |  |  | 0
3 | Subtotal for Sub structure |  |  |  | 0
4 | Subtotal for Walling and Super Structure Concrete |  |  |  | 0
5 | Subtotal for Finishes |  |  |  | 0
6 | Subtotal for Roofing |  |  |  | 0
7 | Subtotal for windows |  |  |  | 0
8 | Subtotal for Doors |  |  |  | 0
9 | Subtotal for Plumbing works and Electrical |  |  |  | 0
Total for BuleBurte school Classrooms |  |  |  |  | 0

## OFFICES
PROJECT: BULEBURTE PRIMARY SCHOOL
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
| Project No: | 005HS/IOM/RDS/2019
| Project Title: | Construction of Buleburte Primary School
| Location: | BuleBurte District, Hiiraan Region, Hirshabale State, Somalia
Tender No:
Tender Title:
Original Issue:
CONSTRUCTION OF OFFICE BLOCK.
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
SUB STRUCTURES
Earthwork schedules
D | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site |  | SM | 87.5 |  | 0
E | Excavate foundation trench commencing at stripped level and not exceeding 1.0m deep. |  | CM | 33.9 |  | 0
| Excavation of Columns Base |  | CM | 6 |  | 0
F | Return fill in and ram selected excavated material around foundations. |  | CM | 9.605 |  | 0
G | Remove surplus excavated material from site. |  | CM | 24.295 |  | 0
Selected hardcore
I | 300mm Selected hardcore bed, spread, levelled, well rammed and consolidated and blinded with 50mm thick murram, quarry dust or sand to receive damp proof membrane (measured separately). |  | CM | 26.25 |  | 0
Approved insecticide treatment.
J | 1000 Gauge polythene sheeting as damp proof membrane laid on blinded hardcore (measured separately) with welted laps (measured net - no allowance made for laps). |  | SM | 87.5 |  | 0
Concrete
Plain concrete class 15/40 OR mix (1:4:8)
K | 50mm Thick blinding below the stone foundation |  | CM | 1.695 |  | 0
Plain concrete class 20/40 OR mix (1:3:6)
L | Ground beam and Strip footing |  | CM | 10.17 |  | 0
| Columns bases and column neck |  | CM | 2.58 |  | 0
0
M | 100mm thck floor bed |  | SM | 87.5 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
O | 8mm Bars |  | KG | 510 |  | 0
P | 12mm Bars |  | KG | 765 |  | 0
Sawn formwork to:
Q | Sides of the ground beam + Strip footing |  | SM | 54.24 |  | 0
BRC
T | A142 BRC |  | SM | 87.5 |  | 0
Substructures walling
U | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work |  | CM | 36.16 |  | 0
V | construction concrete steps including all necessary finishing |  | Lumsup | 2 |  | 0
SUBTOTAL FOR SUBSTRUCTURES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUPERSTRUCTURE - CONCRETE AND WALLING
W | Ring beam and lintel |  | CM | 4.99 |  | 0
X | Superstructures columns |  | CM | 1.54 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Z | 8mm Bars |  | KG | 261 |  | 0
B1 | 12mm Bars |  | KG | 392 |  | 0
Sawn formwork to:
C1 | Sides of the ring beam |  | SM | 162.72 |  | 0
D1 | Sides of the columns |  | SM | 33.88 |  | 0
SUPERSTRUCTURE - WALLING
External and Internal Walls
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
E1 | 200 mm Thick walls |  | SM | 140 |  | 0
F1 | Ditto but vent blocks |  | SM | 5 |  | 0
SUB TOTAL FOR WALLING AND SUPERSTRUCTURE CONCRETE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
FINISHES
Interior wall finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
H1 | Walls: internally |  | SM | 140 |  | 0
Prepare & apply three coats of silk vinyl emulsion paint on plastered hollow block concrete surfaces: to
K1 | Walls: internally |  | SM | 140 |  | 0
| Ditto to Ventilation blocks |  | SM | 5 |  | 0
External Wall finishes
Cement and sand (1:4) render: on hollow block: steel trowel finished: to
L1 | 15mm thick:concrete: externally |  | SM | 205.76 |  | 0
Prepare surfaces and apply undercoat and two finishing coats first grade emulsion paint on hollow concrete wall surfaces: to
M1 | external hollow blocks and plinth level |  | SM | 205.76 |  | 0
N1 | Ditto to external sides of ventilation blocks |  | SM | 5 |  | 0
Floor finishes
Cement and sand (1:4) screed: to hacked floors: in
P1 | 40mm thick finished to receive ceramic tiles floor finish |  | SM | 87.5 |  | 0
300x 300 x 8mm non-slip ceramic floor tiles as approved, jointed & bedded with c/s mortar (1:3) grouting joints in matching cement:
Q1 | To floor |  | SM | 87.5 |  | 0
R1 | 100 x 8mm skirting to match |  | Lm | 52 |  | 0
SUBTOTAL FOR FINISHES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
ROOFING
Roofing trusses- light timber work
Sawn cypress: first grade: clean: pre-treated with wood preservative to engineers approval: including jointing and connections as necessary
Supply and fix the following treated softwood including fabrication and hoisting in position
X1 | 100x50mm for rafters, ridge and tie beam, 75x50mm for ties, struts and purlins. The cost including supply and fixing. |  | SM | 94.9 |  | 0
Y1 | Roof sheets as IT4 profile gauge 28 pre-painted galvanised roofing sheets laid with 95 mm side and 200 mm end laps hook bolts, PVC washer and tropicalized slip cup |  | SM | 94.9 |  | 0
Z1 | 200x25mm fascia board |  | LM | 40 |  | 0
0
| Suppy and provide 10mm deorative chipboard ceiling |  | SM | 94.9 |  | 0
SUBTOTAL FOR ROOF WORKS | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
WINDOWS
T1 | Aluminuim windows
| Window frame size 1200X1200 MM |  | NO | 6 |  | 0
SUBTOTAL FOR WINDOWS | [5 empty] | 0
DOORS
Complete Standard steel panneled door with mortise lock and well painted. The doors should have three hinges
V1 | 900x2400 mm high |  | No. | 2 |  | 0
| SUBTOTAL FOR DOORS |  |  |  |  | 0
Electrical works
C2 | Provide a Provisional Sum of US$. for Electrical Installations to be expended as directed by the Architect and measured and valued on completion |  | NO | 1 |  | 0
0
0
SUBTOTAL PLUMPING WORKS AND ELECTRICAL | [5 empty] | 0
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
Summary of BuleBurte primary school office
3 | Subtotal for Sub structure |  |  |  | 0
4 | Subtotal for Walling and Super Structure Concrete |  |  |  | 0
5 | Subtotal for Finishes |  |  |  | 0
6 | Subtotal for Roofing |  |  |  | 0
7 | Subtotal for windows |  |  |  | 0
8 | Subtotal for Doors |  |  |  | 0
9 | Subtotal for Plumbing works and Electrical |  |  |  | 0
Total for Office Block | [5 empty] | 0

## BOUNDARY WALL
PROJECT: BULEBURTE PRIMARY SCHOOL
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
| Project No: | 005HS/IOM/RDS/2019
| Project Title: | Construction of BuleBurte Primary School
| Location: | BuleBurte, Hiiraan Region, Hirshabale State, Somalia
Tender No:
Tender Title:
Original Issue:
CONSTRUCTION OF BOUNDARY WALL
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
SUB STRUCTURES
Earthwork schedules
D | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site |  | SM | 2500 |  | 0
E | Excavate foundation trench commencing at stripped level and not exceeding 1.0m deep. |  | CM | 96 |  | 0
| Ditto but Columns base |  | CM | 15 |  | 0
F | Return fill in and ram selected excavated material around foundations. |  | CM | 12.6 |  | 0
G | Remove surplus excavated material from site. |  | CM | 83.4 |  | 0
Concrete
Plain concrete class 15/40 OR mix (1:4:8)
K | 50mm Thick blinding below the stone foundation |  | CM | 6 |  | 0
Plain concrete class 20/40 OR mix (1:3:6)
L | Ground beam and Strip footing |  | CM | 36 |  | 0
| columns bases+ neck |  | CM | 8.73 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
O | 8mm Bars |  | KG | 1789.2 |  | 0
P | 12mm Bars |  | KG | 2683.8 |  | 0
Sawn formwork to:
Q | Sides of the ground beam + Strip footing |  | SM | 160 |  | 0
Substructures walling
U | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work |  | CM | 92 |  | 0
V | construction concrete steps including all necessary finishing |  | Lumsup | 1 |  | 0
SUBTOTAL FOR SUBSTRUCTURES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUPERSTRUCTURE - CONCRETE AND WALLING
W | Ring beam |  | CM | 15.2 |  | 0
X | Superstructures columns |  | CM | 6 |  | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Z | 8mm Bars |  | KG | 848 |  | 0
B1 | 12mm Bars |  | KG | 1272 |  | 0
Sawn formwork to:
C1 | Sides of the ring beam |  | SM | 91.2 |  | 0
D1 | Sides of the columns |  | SM | 66 |  | 0
SUPERSTRUCTURE - WALLING
External and Internal Walls
400mm stone walling:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
E1 | 400 mm Thick stone walls |  | CM | 167.2 |  | 0
SUB TOTAL FOR WALLING AND SUPERSTRUCTURE CONCRETE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
FINISHES
Interior wall finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
H1 | Walls: internally |  | SM | 167.2 |  | 0
Prepare & apply three coats of silk vinyl emulsion paint on plastered hollow block concrete surfaces: to
K1 | Walls: internally |  | SM | 167.2 |  | 0
External Wall finishes
Cement and sand (1:4) render: on hollow block: steel trowel finished: to
L1 | 15mm thick:concrete: externally |  | SM | 257.2 |  | 0
Prepare surfaces and apply undercoat and two finishing coats first grade emulsion paint on hollow concrete wall surfaces: to
M1 | external hollow blocks and plinth level |  | SM | 257.2 |  | 0
SUBTOTAL FOR FINISHES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
Site Drainage
Y1 | Site grading and compact and site drainage to vary direction according to slope of site. |  | Lsmp | 1 |  | 0
0
SUBTOTAL FOR SITE DRAINAGE | [5 empty] | 0
DOORS
| Supply and fix double leaf steel gate size 4000x 2500mm high with small pedestrian door made from 3mm thick steel plate welded on both sides of the frame. Frame as follows: 75x50x3mm thick RHS external members and 25mm SHS 3mm thick secondary members, fixed onto the concrete columns using heavy duty steel pin hinges; with all fastening accessories including all cutting welding, grinding and priming with one coat of grey oxide before fixing. The gate should also have peep holes of not more that 25mm dia with a slilding door. It should also have 2 locking mechanisms, top and bottom. |  | No | 1 |  | 0
V1 | Pedestrain door |  | No. | 1 |  | 0
| SUBTOTAL FOR MAIN GATE |  |  |  |  | 0
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
Summary of Boundary wall, water tank and site Drainage
3 | Subtotal for Sub structure |  |  |  | 0
4 | Subtotal for Walling and Super Structure Concrete |  |  |  | 0
5 | Subtotal for Finishes |  |  |  | 0
6 | Subtotal for Site Drainage |  |  |  | 0
8 | Subtotal for Main Gate |  |  |  | 0
Total for BOUNDARY WALL | [5 empty] | 0

## SUPPORT BUILDING
PROJECT: BULEBURTE PRIMARY SCHOOL
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
| Project No: | 005HS/IOM/RDS/2019
| Project Title: | Construction of BuleBurte Primary School
| Location: | BuleBurte District Hiiran Region, Hirshabale state, Somalia
Tender No:
Tender Title:
Original Issue:
CONSTRUCTION OF SUPPORTING BUILDING
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qntty | Rate | Amount
1 | The cost bid for the Guard House should be a lumpsum to meet the technical description presented below and as presented in design drawings, and include all preparation, construction, finishing components :
2 | Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings... |  | lumpsum | 1 |  | 0
0
| The cost bid for the Female toilets should be a lumpsum to meet the technical description presented below and as presented in design drawings, and include all preparation, construction, finishing components : |  |  |  |  | 0
3 | Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings..( the cost shall inculude construction septic tank and connection waste water pipes.) |  | LS | 1 |  | 0
0
4 | The cost bid for the Boys toilets should be a lumpsum to meet the technical description presented below and as presented in design drawings, and include all preparation, construction, finishing components : |  |  |  |  | 0
| Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings...( the cost shall inculude construction septic tank and connection waste water pipes.) |  | LS | 1 |  | 0
0
| The cost bid for the Staff toilets should be a lumpsum to meet the technical description presented below and as presented in design drawings, and include all preparation, construction, finishing components : |  |  |  |  | 0
5 | Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings...( the cost shall inculude construction septic tank and connection waste water pipes.) |  | LS | 1 |  | 0
| Water tank |  |  |  |  | 0
| Construcion reinforced Elevator water tank and two small water points, and follow as per details drawings. Then put 5000liters plastic tank with connection pipes to the public toilets and water point ( Kosios). |  | LS | 1 |  | 0
0
| construction of flag post area, the cost shall inclunde the following works ( Excavations, rcc, stone, plastering, paints and 5m high steel pipe and install somalia flag as well as Hirshable state flag) |  | LS | 1 |  | 0
TOTAL FOR Support Building | [5 empty] | 0
BOQ Value for whole tender in words:
Agreed on behalf of Contractor
Name
Position
Signature
Address and Mobile Number

## SUMMARY
ITEM NO. | DESCRIPTION | PAGE | AMOUNT (US$)
GRANT NO.
PROPOSED COSTRUCTION OF BULE-BURTE PRIMARY SCHOOL
GRAND SUMMARY
1 | PRELIMINARIES AND GENERAL DESCRIPTIONS |  | 0
2 | SECTION 2: CLASSROOMS | 2/3 | 0
3 | SECTION 3: OFFICE BLOCK |  | 0
4 | SECTION 6: BOUNDARY WALL |  | 0
5 | SECTION 7: SUPPORT BUILDING |  | 0
| TOTAL AMOUNT CARRIED TO FORM OF TENDER | US$ | 0
s
SIGNED:
(CONTRACTOR) ……………………………………………………………………………………………………………………
Address: ………………………………………………………………………………………………………………………………………
Tel No: ………………………………………………………………………………………………………………………………………
Date: ……………………………………………………………………………………………………………………………………………
SIGNED:
(EMPLOYER ) …………………………………………………………………………………………………………………………
Address: ……………………………………………………………………………………………………………………………………
Tel No: ………………………………………………………………………………………………………………………………………
Date: ………………………………………………………………………………………………………………………………………….